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Ieinteresētajiem piegādātājiem
To interested economic operators




Par informācijas sniegšanu sarunu procedūrā "Elektroenerģijas skaitītāju slēgumam ar mērmaiņiem iegāde" id. Nr. AST2026/34
Atbildes uz jautājumiem iepirkuma procedūrā ID Nr. AST2026/34
Akciju sabiedrība "Augstsprieguma tīkls" (turpmāk – Pasūtītājs) veic sarunu procedūru, publicējot uzaicinājumu piedalīties "Elektroenerģijas skaitītāju slēgumam ar mērmaiņiem iegāde" (ID Nr. AST2026/34) (turpmāk – Iepirkums).
1. Par labojumiem līguma 5.1 punktā
Pasūtītājs patur iespēju izvēlēties vietu, uz kuru nogādāt preci, līdz ar to Līguma punkts tiek saglabāts esošajā redakcijā. 
2. Par līguma 5.10 punktu 
 Līguma 5.10.punkts tiek saglabāts esošajā redakcijā, jo formulējums "saprātīgā termiņā" var radīt interpretācijas riskus. Konkrēta termiņa noteikšana nodrošinātu lielāku skaidrību starp pusēm. Vienlaikus puses jebkurā gadījumā var savstarpēji vienoties par garāku termiņu, ja tas objektīvi nepieciešams konkrētajā situācijā.
3. Par iekārtu verifikācijām
Preču sākotnējo verifikāciju (kalibrēšanu) pēc iepirkuma var veikt Pasūtītājs, ar nosacījumu, ka ir pieejami visi nepieciešamie sertifikāti un dokumentācija un tie atbilst piemērojamajām prasībām.  
4. Par preču garantijas termiņu
 Garantijas termiņš tiks norādīts Līgumā saskaņā ar iepirkumu dokumentāciju un uzņēmēja iesniegto piedāvājumu. 
5. Par līguma 8.7. punktu
 Standarta punkts, kas paredzēts visos AS "Augstsprieguma tīkls" piegādes līgumos, līdz ar to punkts tiek saglabāts esošajā redakcijā.  
6. Par Līguma 8.8. punktu
 Lūgums skatīt komentāru pie 2.punkta. 
7. Piedāvājumus papildus punktam 8.10
 Tā kā konkrētajā gadījumā ir grūti noteikt kompensācijas vērtību, AS "Augstsprieguma tīkls" ieskatā Līgums nav jāpapildina ar 8.10.punktu. 
8. Par soda naudām un to līgumsodu 
· Līguma 10.6., 10.7. un 10.10.punkts ir standarta punkts, kas paredzēts visos AS "Augstsprieguma tīkls" piegādes līgumos, līdz ar to punkti tiek saglabāti esošajā redakcijā.  
· Līgums tiks papildināts ar 10.12.punktu. 
9. Par līguma 11.2 punkta papildinājumiem
 Līguma 11.2.punkts tiek dzēsts. 
10. Par līguma 17.2 punktu LV
 Līguma 17.2.punkts tiks papildināts ar nosacījumu, ka saziņa pušu starpā, kā arī ar Līgumu saistītie dokumenti var būt vai nu latviešu, vai angļu valodā. 
Informējam ieinteresētos piegādātājus, ka piedāvājumu iesniegšanas termiņš ir pagarināts līdz 2026. gada 11. jūnijam plkst. 10:00 (Latvijas laiks).
Answers to questions in procurement procedure ID No. AST2026/34
Joint Stock Company "Augstsprieguma tīkls" (hereinafter – the Contracting Authority) conducts the negotiated procedure by publishing an invitation to participate "Procurement of electricity meter switchgear with measuring transformers" (ID No. AST2026/34) (hereinafter - the Procurement).
1. Regarding amendments to Clause 5.1
The Customer reserves the right to choose the location to which the goods will be delivered; therefore, the clause of the Agreement shall remain in its current wording.
2. Regarding Clause 5.10
Clause 5.10 of the Agreement shall remain in its current wording, as the phrase "within a reasonable period" may create risks of interpretation. Specifying a concrete time period would ensure greater clarity between the parties. At the same time, the parties may in any event mutually agree on a longer period if this is objectively necessary in the particular situation. 
3. Regarding device verification
The initial verification (calibration) of the goods following procurement may be carried out by the Purchaser, provided that all necessary certificates and documentation are available and are in compliance with the applicable requirements.
4. Regarding the warranty period
The warranty period shall be specified in the Agreement in accordance with the procurement documentation and the Contractor’s submitted proposal.
5. Regarding Clause 8.7
This is a standard clause included in all supply agreements of Augstsprieguma tīkls AS; therefore, the clause shall remain in its current wording.
6. Regarding Clause 8.8
Please refer to the comment under Clause 2.
7. Regarding additional proposals for Clause 8.10
Given that the value of compensation in this particular case is difficult to determine, JSC ‘Augstsprieguma tīkls’ is of the opinion that the Contract does not need to be supplemented with Clause 8.10.
8. Regarding penalties
• Clauses 10.6, 10.7, and 10.10 of the Agreement are standard clauses included in all supply agreements of Augstsprieguma tīkls AS, therefore, these clauses shall remain in their current wording. 
• The Agreement shall be supplemented with Clause 10.12.
9. Regarding amendments to Clause 11.2
Section 11.2 of the Agreement shall be deleted.
10. Regarding Clause 17.2.
Clause 17.2 of the Contract shall be supplemented with a provision stipulating that communication between the Parties and documents related to the Contract may be in Latvian or English.

We inform interested suppliers that the deadline for submitting tenders is extended until June 11, 2026, at 10:00 a.m. (Latvia time).

	Iepirkumu speciālists
	Valērijs Pols




Pols
valerijs.pols@ast.lv
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