## Lapa1
3. pielikums Atklāta konkursa (iepirkuma identifikācijas Nr. IeM VP 2026/37) Nolikumam
FINANŠU PIEDĀVĀJUMS 41. DAĻAI Atklātā konkursā “Laboratorijas, kriminālistisko materiālu un inventāra iegāde VP GKrPP Kriminālistikas pārvaldes vajadzībām” (iepirkuma identifikācijas Nr. IeM VP 2026/37)
Pretendents:_________________________________________________________________ (pretendenta nosaukums)
Nr.p.k. | Nosaukums | Mērvienība | Minimālais pasūtījuma daudzums | Cena EUR par 1 preces vienību (bez PVN) | Cena kopā EUR bez PVN
1 | 2 | 3 | 4 | 5 | 6
1 | Septa, BTO 11mm, 50 gab./iep 5183-4757 | iepak. | 1 |  | 0
2 | Certified non-stick Fluorocarbon Liner O-ring, 10 gab./iep 5188-5365 | iepak. | 1 |  | 0
3 | GC inlet seal, gold plated, with washer, 10 gab./iep 5190-2209 | iepak. | 1 |  | 0
4 | Low pressure drop, ultra inlet liner with glass wool, 1 gab./iepakojumā 5190-2295 | iepak. | 1 |  | 0
5 | Low pressure drop, ultra inert inlet liner with glass wool, 25 gab./iepakojumā 5190-3169 | iepak. | 2 |  | 0
6 | Inlet liner, Ultra Inert, splitless, single taper, glass wool, 1 gab./iep 5190-2293 | iepak. | 5 |  | 0
7 | Inlet liner, splitless, straight, deactivated, quartz, 1 gab./iepak. 5181-8818 | iepak. | 4 |  | 0
8 | Autosampler Syringe, 10 µL, fixed needle, 23-26s/42/cone, 6 gab./iepak. 5181-3360 | iepak. | 10 |  | 0
9 | HP-5MS, Ultra Inert 30m, 0.25mm, 0.25µm 19091S-433UI | gab. | 8 |  | 0
10 | HP-1, 30m, 0.25mm, 0.25µm 19091Z-433 | gab. | 5 |  | 0
11 | Fused silica tubing, deactivated, 5 m, 0.53 mm, 0.67 mm od 160-2535-5 | gab. | 2 |  | 0
12 | Column nut for GC capillaries, 2 gab./iepak. 5181-8830 | iepak. | 5 |  | 0
13 | Column nut for MS interface 05988-20066 | gab. | 1 |  | 0
14 | J&W HP-FFAP GC Column, 50 m, 0.32 mm, 0.50 µm 19091F-115 | gab. | 1 |  | 0
15 | Column nut, collared, self-tightening, MSD G3440-81013 | gab. | 10 |  | 0
16 | Column nut, collared, self-tightening, inlet/detector G3440-81011 | gab. | 10 |  | 0
17 | Ferrule, 0.4 mm id, 15% graphite/85%Vespel, 0.1 to 0.25 mm column, 10 gab./iepak. 5181-3323 | iepak. | 1 |  | 0
18 | Ferrule, 0.5 mm id, 15% graphite/85%Vespel, 0.32 mm column, 10 gab./iepak. 5062-3514 | iepak. | 1 |  | 0
19 | Ferrule, 0.4 mm id, preconditioned for MSD interface, 15% graphite/ 85% Vespel, 0.25 mm column, long, 10 gab./iepak. 5062-3508 | iepak. | 1 |  | 0
20 | Deactivated glass inserts with polymer feet and mandrel interior. 100 gab./iepak. 5181-8872 | iepak. | 20 |  | 0
21 | Cap, crimp, headspace, aluminum, PTFE/silicone septa, 20 mm, 100/pk 5183-4477 | iepak. | 3 |  | 0
22 | Vial, crimp top, headspace, clear, certified, flat bottom, 20 mL, 23 x 46 mm, 100/pk 5182-0837 | iepak. | 3 |  | 0
23 | Certified 2 mL Screw Top Vial Pack. Clear with write-on spot PTFE/red silicone septa. 100 gab./iepak. 5182-0864 | iepak. | 100 |  | 0
24 | Captiva Econofilter, polypropylene housing, PTFE membrane, 25 mm diameter, 0.45 µm pore size, 1000 gab./iepak. 5190-5268 | iepak. | 3 |  | 0
25 | Split Vent Trap, 2 gab./iepak. G1544-80530 | iepak. | 5 |  | 0
26 | Filament, high temperature, EI ion source G7005-60061 | gab. | 10 |  | 0
27 | Agilent Vacuum Fluid AVF 45 Platinum 5191-5851 | gab. | 1 |  | 0
28 | Captiva Premium Syringe Filter, polypropylene housing, RC membrane, 15 mm diameter, 0.2 µm pore size, 100/pk. 5190-5108 | iepak. | 1 |  | 0
29 | Vial rack, single blue holds 50 standard 12 mm 2 mL vials, stackable. 5067-0243 | iepak. | 1 |  | 0
30 | Buffer, inorganic anion, for CE, pH 7.7, 250 mL 8500-6797 | iepak. | 1 |  | 0
31 | Ultra pure water for CE 500 mL 5062-8578 | iepak. | 1 |  | 0
32 | Sodium hydroxide, 0.1 N, 250 mL 5062-8575 | iepak. | 1 |  | 0
33 | Sodium hydroxide, 1.0 N, 250 mL 5062-8576 | iepak. | 1 |  | 0
34 | CE capillary, bare fused silica, 50 µm/72 cm, 2/pk. Standard bare fused silica CE capillary, color code Green G1600-62211 | iepak. | 1 |  | 0
35 | Inorganic anion test mixture for CE. Includes 1000 ppm each of fluoride, chloride, bromide, nitrite, sulfate and 3000 ppm phosphate 5062-8524 | iepak. | 1 |  | 0
36 | Buffer, cation, for CE, 250 mL, pH 3.2, indirect UV-detection buffer 5064-8203 | iepak. | 1 |  | 0
37 | CE extended light path (3x) capillary, bare fused silica, 50 µm/56 cm, 2/pk. Bare fused silica CE capillary with Bubble Cell, color code Red G1600-61232 | iepak. | 1 |  | 0
38 | Cation test sample for CE, 25 mL 5064-8205 | iepak. | 1 |  | 0
39 | ESI-L LCMS Tuning Solution. Tuning Mix for LCMS Instruments (Including ESI-TOF) G1969-85000 | iepak. | 1 |  | 0
40 | epT.I.P.S.® Standard, Eppendorf Quality™, 50 – 1,250 µL, 76 mm, green, 1,000 tips (4 bags × 250 tips) 0030000935 | iepak. | 13 |  | 0
41 | Fisherbrand™ 20 mL Borosilicate Glass Scintillation Vials with White Urea Caps, 500 gab./iepak. 12353317 | iepak. | 5 |  | 0
42 | DWK Life Sciences Wheaton™ Clear French Squares with PTFE Faced PE-lined Closures, 30 mL, 48 gab./iepak. 10501043 | iepak. | 5 |  | 0
43 | Fisherbrand™ Reusable Glass Media Bottles with Cap, 250 mL, 10 gab./iepak. 15456113 | iepak. | 1 |  | 0
44 | Fisherbrand™ Reusable Glass Media Bottles with Cap, 500 mL, 10 gab./iepak. 15476113 | iepak. | 1 |  | 0
45 | Fisherbrand™ Reusable Glass Media Bottles with Cap, 1000 mL, 10 gab./iepak. 15486113 | iepak. | 1 |  | 0
46 | Fisherbrand™ Reusable Glass Media Bottles with Cap, 100 mL, 10 gab./iepak. 15446113 | iepak. | 1 |  | 0
47 | Glass Pasteur Pipets with Open Point, 150 mm, 1000 gab./iepak. 11546963 | iepak. | 1 |  | 0
Piedāvājuma cena KOPĀ EUR bez PVN: |  |  |  |  | 0
Piedāvājuma cena KOPĀ EUR bez PVN: ______________________________________________________________________
(norādīt ar vārdiem)
Pretendentam jāaizpilda 5. kolonna, norādot cenu EUR bez PVN par 1 (vienu) preces vienību. Pasūtītājs pasūtījumus veiks pēc nepieciešamības vairākās daļās visā līguma darbības laikā.