## Prognoze
Annex 6 DPS “Purchase of Medium-Voltage Switching Devices”, to the Regulations, identification No. ST 2026/21
ESTIMATED GOODS TO BE PURCHASED OVER A 48-MONTH PERIOD
No. | Name of Material Subgroup | Category Code | Name of Nomenclature Category | Estimated Quantity to be Purchased over a 4-Year Period, km | Product Group
1 | 2601 Reclosers for OHL | 2601.001 | Outdoor vacuum recloser with relay protection and control cubicle, 24kV | 33 | 1. Product Group
2 | 2602 Load breaker switches | 2602.001 | Load break switch for indoor installation, 24 kV, 400 A, with earthing witch on movable contact side, standard drive for standard size sockets | 56 | 2. Product Group
3 | 2602 Load breaker switches | 2602.002 | Load break switch for indoor installation, 24 kV, 400 A, with earthing switches mounted on moving and fixed contact sides, standard drive for standard size sockets | 49
4 | 2602 Load breaker switches | 2602.003 | Load break switch for indoor installation, 24 kV, 400 A, with fuses and earthing switches mounted on moving contact side, standard drive for standard size sockets | 28
5 | 2602 Load breaker switches | 2602.004 | Load break switch for indoor installation, 24 kV, 400 A, with fuses and earthing switches mounted on moving and fixed contact side, standard drive for standard size sockets | 24
6 | 2602 Load breaker switches | 2602.005 | Load break switch for indoor installation, 12 kV, 630 A, with earthing switch on movable contact side, standard drive for standard size sockets | 9
7 | 2602 Load breaker switches | 2602.006 | Load break switch for indoor installation, 12 kV, 630 A, with earthing switches mounted on moving and fixed contact sides, standard drive for standard size sockets | 2
8 | 2602 Load breaker switches | 2602.007 | Load break switch for indoor installation, 12 kV, 400 A, with fuses and earthing switches mounted on moving contact side, standard drive for standard size sockets | 19
9 | 2602 Load breaker switches | 2602.008 | Load break switch for indoor installation, 12 kV, 400 A, with fuses and earthing switches mounted on moving and fixed contact side, standard drive for standard size sockets | 10
10 | 2602 Load breaker switches | 2602.009 | Load break switch for indoor installation, 24 kV, 400 A, with earthing witch on movable contact side, drive for non-standard size sockets | 1
11 | 2602 Load breaker switches | 2602.010 | Load break switch for indoor installation, 24 kV, 400 A, with earthing switches mounted on moving and fixed contact sides, drive for non-standard size sockets | 1
12 | 2602 Load breaker switches | 2602.011 | Load break switch for indoor installation, 24 kV, 400 A, with fuses and earthing switches mounted on moving contact side, drive for non-standard size sockets | 1
13 | 2602 Load breaker switches | 2602.012 | Load break switch for indoor installation, 24 kV, 400 A, with fuses and earthing switches mounted on moving and fixed contact side, drive for non-standard size sockets | 1
14 | 2602 Load breaker switches | 2602.013 | Load break switch for indoor installation, 12 kV, 630 A, with earthing switch on movable contact side, drive for non-standard size sockets | 1
15 | 2602 Load breaker switches | 2602.014 | Load break switch for indoor installation, 12 kV, 630 A, with earthing switches mounted on moving and fixed contact sides, drive for non-standard size sockets | 1
16 | 2602 Load breaker switches | 2602.015 | Load break switch for indoor installation, 12 kV, 400 A, with fuses and earthing switches mounted on moving contact side, drive for non-standard size sockets | 1
17 | 2602 Load breaker switches | 2602.016 | Load break switch for indoor installation, 12 kV, 400 A, with fuses and earthing switches mounted on moving and fixed contact side, drive for non-standard size sockets | 1
18 | 2603 Switch Disconnector | 2603.001 | Single pole horizontal installation switch disconnector with 2 insulators per phase and one earthing switch with earthing blades on disconnector moving side, go through line | 42 | 3. Product Group
19 | 2603 Switch Disconnector | 2603.005 | Single pole vertical installation switch disconnector with 2 insulators per phase and one earthing switch with earthing blades on disconnector moving side, go through line | 10
20 | 2603 Switch Disconnector | 2603.007 | Single pole vertical installation switch disconnector with 2 insulators per phase and one earthing switch with earthing blades on disconnector moving side, at the line end | 7
21 | 2603 Switch Disconnector | 2603.009 | Single pole horizontal installation switch disconnector with 2 insulators per phase and two earthing switches with earthing blades on disconnector moving and stationary side, go through line | 125
22 | 2604 Fuse Disconnector | 2604.001 | Fuse Disconnector, outdoor, 24kV | 250 | 4. Product Group
23 | 2605 Fuse base | 2605.001 | Fuse base, outdoor, 24kV | 150 | 5. Product Group
24 | 2605 Fuse base | 2605.003 | Fuse base, 12kV, indoor | 150
25 | 2607 OHL Load break switch | 2607.021 | Load Break Switch (LBS), outdoor, 24kV, with relay protection and control cubicle without SF6 | 19 | 6. Product Group
26 | 2607 OHL Load break switch | 2607.001 | Load Break Switch (LBS), outdoor, 24kV, with relay protection and control cubicle with SF6 | 18