Annex 8

Procurement ID No AST2024/91

Joint Stock Company "Augstsprieguma tīkls"

open procedure

"Supply of electrical equipment to the 110 kV substation "Līvāni""

(ID No AST2024/91)

Lot 1 "110 kV Disconnectors"

Financial offer

Tenderer  _______

PRICE SCHEDULE

# Notes:

- Exact delivery time of the Goods may be modified by the Purchaser in written 8 months before delivery.

- In the price schedule should be included all positions according to technical specification.

- All prices for equipment and commissioning should be indicated separately.

- All technical documentation must be submitted to the customer in electronic form.

| No. | Description | Quantity | Unit price (Without VAT) | Total price (Without VAT) | Currency | Delivery time |
| --- | --- | --- | --- | --- | --- | --- |
| - 1. | 110 kV Horizontal centre-break motor driven disconnector without earthing switch (According to technical specification paragraph 1.1.) | 2 unit |  |  | EUR | 05.05.2026.- 05.08.2026 |
|  | 110 kV Horizontal centre-break motor driven disconnector with motor driven earthing switch on one side (According to technical specification paragraph 1.2.) | 6 units |  |  | EUR | 05.05.2026.- 05.08.2026 |
|  | Spare parts for 110kV disconnectors (According to technical specification paragraph 1.3.) | 1 set |  |  | EUR | 05.05.2026.- 05.08.2026 |
|  | Single-column 72,5 kV earthing switches (According to technical specification paragraph 2.) | 2 units |  |  | EUR | 05.05.2026.- 05.08.2026 |
|  | Spare parts for 72,5 kV earthing switches (According to technical specification paragraph 2.1) | 1 unit |  |  | EUR | 05.05.2026.- 05.08.2026 |
|  | All documentation, drawings, technical data sheets etc. (According to technical specification paragraph 3) | 1 set |  |  | EUR | According to technical specification |
| Total price (Without VAT) |  |  |  |  |  |  |