Annex 7

To the Procurement ID No. RS2026/104/AK

Regulations

FINANCIAL OFFER

Construction and Replacement of the 115/10.5 kV Transformer TNo.1

Tenderer _________

| No. | Title of works | UoM | Qty | Unit price, EUR | Amount, EUR | Performance deadline |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Construction and installation works. |  |  |  |  |  |
| 1.1 | Preparation and arrangement of the construction site. | set | 1 |  |  |  |
| 1.2 | Dismantling of the existing TNo. 1 transformer and preparation for conservation. | pcs | 1 |  |  |  |
| 1.3 | Dismantling of the rigging anchors of the existing TNo. 1 transformer and dismantling of the existing electric-surge arresters. | set | 1 |  |  |  |
| 1.4 | Installation of the new transformer relay protection and cooling system power supply circuits. | set | 1 |  |  |  |
| 1.5 | Processing, continuity testing, connection and marking of the ends of the TNo. 1 control cables. | set | 1 |  |  |  |
| 1.6 | Installation and testing of the RPA and DMS circuits in the modified and supplemented part of the scheme. | set | 1 |  |  |  |
| 1.7 | Dismantling unused RPA equipment and cables. | set | 1 |  |  |  |
| 1.8 | Installation of the new transformer on the foundations | set | 1 |  |  |  |
| 1.9 | Installation of electric-surge arresters. | set | 1 |  |  |  |
| 1.10 | Connection of the new transformer to the 110kV and 10.5kV scheme. | set | 1 |  |  |  |
| 1.11 | Connection of the new transformer to the existing earth system. | set | 1 |  |  |  |
| 1.12 | Vacuum drying before oil filling. Filling with oil to the specified level. Carrying out transformer measurements. | set | 1 |  |  |  |
| 1.13 | Site improvement works. | set | 1 |  |  |  |
| 1.14 | Preparation of executable documentation. | set | 1 |  |  |  |
| 1.15 | Commissioning of the new 110kV transformer. 72-hour test. | pcs | 1 |  |  |  |
| 2 | Equipment and materials. |  |  |  |  |  |
| 2.1 | 110/10kV 63MVA transformer and auxiliary materials | set | 1 |  |  |  |
| 2.2 | RPA equipment | set | 1 |  |  |  |
| 2.3 | DMS equipment | set | 1 |  |  |  |
| 2.4 | Construction materials | set | 1 |  |  |  |
| 2.5 | Partial discharge (PD) monitoring system | set | 1 |  |  |  |
|  |  |  |  | Total without VAT |  |  |