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Annex 7
To the Procurement ID No. RS2026/104/AK
Regulations
FINANCIAL OFFER
Construction and Replacement of the 115/10.5 kV Transformer TNo.1
Tenderer _________
	No. 

	Title of works
	UoM
	Qty
	Unit price, EUR
	Amount, EUR
	Performance deadline

	1
	Construction and installation works.
	
	
	
	
	

	1.1
	Preparation and arrangement of the construction site.
	set
	1
	
	
	

	1.2
	Dismantling of the existing TNo. 1 transformer and preparation for conservation.
	pcs
	1
	
	
	

	1.3
	Dismantling of the rigging anchors of the existing TNo. 1 transformer and dismantling of the existing electric-surge arresters.
	set
	1
	
	
	

	1.4
	Installation of the new transformer relay protection and cooling system power supply circuits. 
	set
	1
	
	
	

	1.5
	Processing, continuity testing, connection and marking of the ends of the TNo. 1 control cables.
	set
	1
	
	
	

	1.6
	Installation and testing of the RPA and DMS circuits in the modified and supplemented part of the scheme.
	set
	1
	
	
	

	1.7
	Dismantling unused RPA equipment and cables.
	set
	1
	
	
	

	1.8
	Installation of the new transformer on the foundations
	set
	1
	
	
	

	1.9
	Installation of electric-surge arresters.
	set
	1
	
	
	

	1.10
	Connection of the new transformer to the 110kV and 10.5kV scheme.
	set
	1
	
	
	

	1.11
	Connection of the new transformer to the existing earth system.
	set
	1
	
	
	

	1.12
	Vacuum drying before oil filling. Filling with oil to the specified level. Carrying out transformer measurements.
	set

	1
	
	
	

	1.13
	Site improvement works.
	set
	1
	
	
	

	1.14
	Preparation of executable documentation.
	set
	1
	
	
	

	1.15
	Commissioning of the new 110kV transformer. 72-hour test.
	pcs
	1
	
	
	

	2
	Equipment and materials.
	
	
	
	
	

	2.1
	110/10kV 63MVA transformer and auxiliary materials
	set
	1
	
	
	

	2.2
	RPA equipment
	set
	1
	
	
	

	2.3
	DMS equipment
	set
	1
	
	
	

	2.4
	Construction materials
	set
	1
	
	
	

	2.5
	Partial discharge (PD) monitoring system
	set
	1
	
	
	

	
	Total without VAT
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