## General information
KVS F 426/1 08.03.2022.VPL-22/12-9.2.
MANAGEMENT INFORMATION QUESTIONNAIRE
Client | SJSC (VAS) “Valsts nekustamie īpašumi”
Contractor
Project name
Property address
Property cadastral designation
Total area of the property
Building area of the property
Requirements for the creation and updating of the Management Information Questionnaire
1 General guidance:
1.1 The Management Information Questionnaire (hereinafter referred to as - the Questionnaire) is created for the needs of management and maintenance process, with the purpose to provide structured and summarised information on the conditions of use and maintenance of the building, as well as the technical solutions implemented within the framework of construction. 1.2 The Questionnaire is created during the development of the construction design (hereinafter referred to as - "CD") and the construction works, and is the responsibility of the designer, author's supervisor and the contractor according to the workflow described below and the defined division of responsibilities. 1.3 The Questionnaire is attached to the technical specifications for design, author's supervision and technical specifications of the construction work procurement contracts and serves as a part of the work task.
2 Adding of information:
2.1 The Questionnaire must include information on all the equipment and materials according to the items of questionnaire template and defined detail of the information. 2.2 Within the framework of each specific project, while maintaining the detail of the Questionnaire, the Questionnaire may be adapted to the functional characteristics of the specific object to be developed, including, if necessary, by adding new items to the Questionnaire characterising the engineering or landscaping solutions of the object. 2.3 The Questionnaire must be submitted together with the documentation referred to in the Questionnaire. 2.4 It is preferable to provide information on the location of documentation by creating active links to the specific documents or folders where the documentation concerned is located. Instead of a link, it is also permissible to provide information in the form of text, describing the exact location (address) of the documentation in the construction design or in an electronic folder of the executive documentation.
3 Responsibility sharing:
Contractor | Questionnaire section |  | Notes
Designer, author's supervisor | Annex 1 "Equipment and Utilities", columns: "No.", "Title", "Building", "Unit", "Quantity", "Current construction project documentation" Annex 2 "Finish, Premises and Territory", columns: "No.", "Title", "Building", "Floor", "Group of rooms and room No.", "Room name", "Room area (m2)", "Floor covering". |  | The designer shall design and adapt the Questionnaire according to the technical solutions included in the construction project.
Performer of construction works | Annex 1 "Equipment and Utilities" (excluding the column "Current Technical Documentation"). Annex 2 "Finish, Premises and Territory". Annex 3 “Documents to be Submitted Additionally". Annex 4 "Meters". Annex 5 "Management Regulation" |  | The information provided by the designer in Annexes 1 and 2 is to be used as informative auxiliary material. Performer of construction works shall be solely responsible for the correspondence of the Questionnaire to the construction works actually completed and solutions applied.
4 Schematic representation of the workflow:
5 Workflow description:
Project activity |  | Designer / author’s supervisor | Performer of construction works
Designing | Activities | Creates a Questionnaire and provides the information requested in the Questionnaire template. Submits completed questionnaire together with the construction design documentation to the client. | N/A
| Deadline | By the designing work deadline set in the designing contract. | N/A
Construction works | Activities | Updates the previously prepared questionnaire in accordance with changes and additions made during the construction works Submits the updated questionnaire together with the current construction design documentation to the client and the performer of construction works. | Updates the questionnaire prepared by the designer in accordance with changes and additions made during the construction works (if applicable). Adds the questionnaire with information and documentation on the works performed and accepted to date. Submits the Questionnaire and the executive documentation referred to in the Questionnaire to the client.
| Deadline | 7 months until the completion date specified in the construction works contract. | 6 months until the completion date specified in the construction works contract.
Transfer into management | Activities | Updates the Questionnaire according to changes and additions made during the construction works since the last update of the Questionnaire. Submits updated questionnaire together with the current construction design documentation to the client and the performer of construction works. | Updates the Questionnaire prepared by the designer in accordance with changes and additions made during the construction works (if applicable). Supplements the questionnaire with information and documentation on all the works performed and accepted. Submits the Questionnaire and the executive documentation referred to in the Questionnaire to the client.
| Deadline | Until the building is accepted into operation. | Until the completion date specified in the construction works contract.
ATTACHMENTS
Annex 1 "Equipment and Utilities" Annex 2 "Finish, Premises and Territory" Annex 3 “Documents to be Submitted Additionally" Annex 4 "Meters" Annex 5 "Management Regulation”

## Annex 1. Equipment and Utilitie
Questionnaire of Property Utilities Equipment and Materials | Annex 1: Equipment and Utilities
No. | Title |  |  |  |  | Building | Unit | Quantity | Current construction design documentation (Yes-indicate location/No) | Instructions for use (Yes-indicate location/No) | Equipment passports (Yes-indicate location/No) | Conditions for maintenance - Regulation (Yes-indicate location/No) | Special warranty conditions (Yes-indicate location/No) | Specific cleaning requirements (Yes-indicate location/No) | Date of transfer of the system | Performer of works (including subcontractor, if applicable) | Price of the Installed Equipment* if exceeds EUR 10,000 (Yes-specify price/No) | All the section’s executive documentation (Yes-indicate location and volume No./No)
1 | Maintenance of utilities
| 1.1 | HVC-H, Heating system
|  | 1.1.1 | Centralised heating system (incl. air curtains)
|  |  | 1.1.1.1 | Name of the equipment* *....
|  | 1.1.2 | Local heating system
|  |  | 1.1.2.1 | Name of the equipment*....
| 1.2 | HVC-V, Ventilation system
|  | 1.2.1 | Air ventilation systems (supply-exhaust, local supply-exhaust, supply ventilation Equipment*)
|  |  | 1.2.1.1 | Name of the equipment*....
|  | 1.2.2 | Humidifiers/driers (incl. local)
|  |  | 1.2.2.1 | Name of the equipment*....
| 1.3 | HVC-C, Climate control system
|  | 1.3.1 | District air cooling system (chiller, VRF, fan coils)
|  |  | 1.3.1.1 | Name of the equipment*....
|  | 1.3.2. | Local air cooling systems (Split, Multi-Split, Precision Climate Control Equipment* )
|  |  | 1.3.2.1 | Name of the equipment*....
| 1.4 | TM, Thermal mechanics
|  | 1.4.1 | Heat preparation unit
|  |  | 1.4.1.1 | Name of the equipment*....
| 1.5 | WS, Water supply and sewerage system
|  | 1.5.1 | Cold water supply system
|  |  | 1.5.1.1 | Name of the equipment*....
|  | 1.5.2. | Centralised hot water supply system
|  |  | 1.5.2.1 | Name of the equipment*....
|  | 1.5.3 | Local hot water supply system (with electric heaters)
|  |  | 1.5.3.1 | Name of the equipment*....
|  | 1.5.4 | Indoor and external sewerage system, including rainwater system
|  |  | 1.5.4.1 | Name of the equipment*....
|  | 1.5.5 | Internal fire-fighting water-pipe
|  |  | 1.5.5.1 | Name of the equipment*....
|  | 1.5.6 | External fire-fighting water-pipe
|  |  | 1.5.6.1 | Name of the equipment*....
|  | 1.5.7 | Fixed fire-fighting system (SP, sprinklers, drainers)
|  |  | 1.5.7.0 | Name of the equipment*....
|  | 1.5.8 | Plumbing equipment (mixing taps, watering taps, sinks, toilet bowls, flush boxes and their mechanisms, etc.)
|  |  | 1.5.8.1 | Name of the equipment*....
| 1.6 | EL, Electricity supply system
|  | 1.6.1 | Electricity supply network (Power network, from the supplier's input to the consuming equipment (not included))
|  |  | 1.6.1.1 | Name of the equipment*....
|  | 1.6.2. | Diesel generator, ARI equipment, reactive power compensators, transformers
|  |  | 1.6.2.1 | Name of the equipment*....
|  | 1.6.3 | Uninterruptible power supply (UPS)
|  |  | 1.6.3.1 | Name of the equipment*....
|  | 1.6.4 | Lighting
|  |  | 1.6.4.1 | Name of the equipment*....
|  | 1.6.5 | Earthing devices, lightning and surge protection system
|  |  | 1.6.5.1 | Name of the equipment*....
| 1.7 | ECS, Electronic communication systems
|  | 1.7.1 | ESS-CI, Centralised Notification System
|  |  | 1.7.1.1 | Name of the equipment*....
|  | 1.7.2. | ESS-DA, Smoke protection
|  |  | 1.7.2.1 | Name of the equipment*....
|  | 1.7.3 | ESS-PK, Access control
|  |  | 1.7.3.1 | Name of the equipment*....
|  | 1.7.4 | ESS-AS, Security alarm
|  |  | 1.7.4.1 | Name of the equipment*....
|  | 1.7.5 | ESS-TK, Electronic communications engineer networks
|  |  | 1.7.5.1 | Name of the equipment*....
|  | 1.7.6 | ESS-VAS, Control and automation systems
|  |  | 1.7.6.1 | Name of the equipment*....
|  | 1.7.7 | ESS-VN, Video surveillance
|  |  | 1.7.7.1 | Name of the equipment*....
| 1.8 | Fire security systems
|  | 1.8.1 | Fixed fire extinguishing system (GUS, gas extinguishing system)
|  |  | 1.8.1.1 | Name of the equipment*....
|  | 1.8.2. | UATS, Fire detection and alarm system
|  |  | 1.8.2.1 | Name of the equipment*....
|  | 1.8.3 | UAS, Fire extinguishing automatics systems
|  |  | 1.8.3.1 | Name of the equipment*....
|  | 1.8.4 | DKKS, Smoke and heat control systems
|  |  | 1.8.4.1 | Name of the equipment*....
|  | 1.8.5 | UPP, Fire extinguishers
|  |  | 1.8.5.1 | Name of the equipment*....
| 1.9 | Lifts and hoists
|  | 1.9.1 | Passenger and light cargo lifts
|  |  | 1.9.1.1 | Name of the equipment*....
|  | 1.9.2. | Wheelchair lifts
|  |  | 1.9.2.1 | Name of the equipment*....
|  | 1.9.3 | Cargo cranes
|  |  | 1.9.3.1 | Name of the equipment*....
|  | 1.9.4 | Hydraulic hoists
|  |  | 1.9.4.1 | Name of the equipment*....
| 1.10 | Gates and barriers
|  | 1.10.1 | Automatic gate
|  |  | 1.10.1.1 | Name of the equipment*....
|  | 1.10.2. | Automatic barriers
|  |  | 1.10.2.1 | Name of the equipment*....
|  | 1.10.3 | Turnstiles
|  |  | 1.10.3.1 | Name of the equipment*....
| 1.11 | Other not listed systems (incl. IE, TN)
|  |  | 1.11.1 | Name of the equipment*....
Notes:
Equipment - means an element or set of elements that is subject to systematic (periodic) maintenance in accordance with the manufacturer's (or installer's) operating provisions and failure to comply with the requirements may result in deterioration of the element's technical condition before the expiry of the manufacturer's (or installer's) specified service life;

## Annex 2. Finish, Premises and T
Annex 2: Finish, Premises and Territory
No. | Title |  |  |  | Building (if applicable) | Floor (if applicable) | Group of rooms and room No. (if applicable) | Name of the premises (if applicable) | Area of the space (m2) (if applicable) | Flooring (specify m2 for the whole building/territory) (if applicable) | Location of the instruction for use in the technical documentation | Specific cleaning requirements
1 | Maintenance of buildings (including indoor premises) and territories
| 1.1 | Specific surface care instructions (name all types of surfacing)
|  | 1.1.1 | Facade
|  |  | 1.1.1.1 | Surfacing_1
|  |  | 1.1.1.2 | Surfacing_2
|  | 1.1.2 | Roof
|  |  | 1.1.2.1 | Surfacing_1
|  |  | 1.1.2.2 | Surfacing_2
|  | 1.1.3 | For floorings
|  |  | 1.1.3.1 | Surfacing_1
|  |  | 1.1.3.2 | Surfacing_2
|  |  | 1.1.3.3 | Surfacing_3
|  | 1.1.4 | For lifts
|  |  | 1.1.4.1 | Lift surface_1
|  | 1.1.5 | Flagpoles
|  |  | 1.1.5.1 | Material_1
2 | Hygiene product holders
| 2.1 | Instruction for placing hygiene products
|  |  | 2.1.1 | Unit_1
3 | For indoor plants and greenery
| 3.1 | Plant lists and care instructions
|  |  | 3.1.1 | Plant_1
|  |  | 3.1.2 | Plant_2
|  |  | 3.1.3 | Plant_2
4 | Equipment (e.g. watering systems, flagpoles)
| 4.1 | Instructions for use
|  |  | 4.1.1 | Watering systems
|  |  | 4.1.2 | Flagpoles
|  |  | 4.1.3 | Other
5 | Territory
| 5.1 | Cleaning instructions
|  |  | 5.1.1 | Lawn_1
|  |  | 5.1.2 | Pavement/asphalt_1
|  |  | 5.1.3 | Other

## Annex 3. Documents to be Submit
Annex 3: Documents to be Submitted Additionally
No. | Title |  |  |  | Location of the document (Yes-indicate location/No) | Date of document submission
1
| 1 | Low-current systems
|  |  | 1.1 | Access systems: passwords and access codes for system management
|  |  | 1.2 | Fire detection and alarm systems (FAS): passwords and remote access rights for system management
| 2 |  | Verification acts/documents:
|  |  | 2.1 | Results of wiring test (including earthing and lightning protection devices) (Cabinet Regulation No. 238; Paragraphs 56, 57)
|  |  | 2.2 | Wiring contact connection quality inspection report (in the branch box, in electricity distribution cabinet (switchboard), at the points of installation of protective devices), involving use of a thermal imaging camera (Cabinet Regulation No. 238; Paragraph 58)
|  |  | 2.3 | Mechanical ventilation system cleaning and inspection report (Cabinet Regulation No. 238; Paragraphs 91, 92)
|  |  | 2.4 | Fire hydrant inspection report (Cabinet Regulation No. 238; Paragraph 107)
|  |  | 2.5 | Fire valve inspection report (Cabinet Regulation No. 238; Paragraph 117)
|  |  | 2.6 | Heating system hydraulic test report
|  |  | 2.7 | Cooling system hydraulic test report
| 3 | Gas extinguishing system (GUS)
|  |  | 3.1 | GUS hydraulic test report
|  |  | 3.2 | Indoor pressure test where GUS is installed (protocol)
| 4 | Current inventory file
|  |  | 4.1 | Current inventory file

## Annex 4. Meters
Annex 4: Meters
No. | Title |  |  |  | Building | Floor | Location on plan (room number) | Meter number | Meter start reading (when installing) and date | Reading at the time and on the date of transfer
| 1 | Meters (list each of them separately)
|  | 1.1 | Heating meter
|  |  | 3.1.1 | Name of the installation....
|  | 1.2 | Electricity meter
|  |  | 3.1.1 | Name of the installation....
|  | 1.3 | Water meter
|  |  | 3.1.1 | Name of the installation....
|  | 1.4 | Energy meter of different type
|  |  | 3.1.1 | Name of the installation....

## Annex 5. Management Regulation
Annex 5: Management Regulation (Utilities Maintenance Regulation (frequency of maintenance works))
No. | Position* | [5 empty] | Notes
|  | 1x per month | 1x per quarter | 1x semi-annually | 1x per year | Other
1.1 | HVC-H, Heating system
1.1.1 | Centralised heating system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.1.2 | Local heating system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.2 | HVC-V, Ventilation system
1.2.1 | Air ventilation systems (supply-exhaust, local supply and exhaust, supply ventilation equipment)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.2.2 | Humidifiers/dryers (incl. local)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.3 | HVC-C, Climate control system
1.3.1 | District air cooling system (chiller, VRF, fan coils)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.3.2 | Local air cooling systems (Split, Multi-Split, Precision Climate Control Equipment* )
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.4 | TM, Thermal mechanics
1.4.1 | Heat preparation unit
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5 | WS, Water supply and sewerage system
1.5.1 | Cold water supply system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.2 | Centralised hot water supply system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.3 | Local hot water supply system (with electric heaters)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.4 | Indoor and external sewerage system, including rainwater system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.5 | Internal fire-fighting water-pipe
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.6 | External fire-fighting water-pipe
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.5.7 | Fixed fire-fighting system (SP, sprinklers, drainers)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.6 | EL, Electricity supply system
1.6.1 | Electricity supply network (Power network, from the supplier's input to the consuming equipment (not included))
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.6.2 | Diesel generator, ARI equipment, reactive power compensators, transformers
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.6.3 | Uninterruptible power supply (UPS)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.6.4 | Lighting
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.6.5 | Earthing devices, lightning and surge protection system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7 | ECS, Electronic communication systems
1.7.1 | ESS-CI, Centralised Notification System
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.2 | ESS-DA, Smoke protection
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.3 | ESS-PK, Access control
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.4 | ESS-AS, Security alarm
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.5 | ESS-TK, Electronic communications engineer networks
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.6 | ESS-VAS, Control and automation systems
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.7.7 | ESS-VN, Video surveillance
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.8 | Fire security systems
1.8.1 | Fixed fire extinguishing system (GUS, gas extinguishing system)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.8.2 | UATS, Fire detection and alarm system
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.8.3 | UAS, Fire extinguishing automatics systems
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.8.4 | DKKS, Smoke and heat control systems
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.8.5 | UPP, Fire extinguishers
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.9 | Lifts and hoists
1.9.1 | Passenger and light cargo lifts
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.9.2 | Wheelchair lifts
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.9.3 | Cargo cranes
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.9.4 | Hydraulic hoists
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.10 | Gates and barriers
1.10.1 | Automatic gate
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.10.2 | Automatic barriers
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.10.3 | Turnstiles
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
1.11 | Other not listed systems (incl. IE, TN)
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
* | Actions to be taken during maintenance in accordance with the manufacturer's instructions
Notes:
This section is completed in accordance with the equipment manufacturer's (or installer's) operating rules to fully cover the scope of maintenance work stipulated for the operation to fully maintain the equipment and ensure warranty obligations