## Sheet2
Tenderer's name:
Date:
TECHNICAL SPECIFICATION/TECHNICAL OFFER
* If specific supplies or standard name or any other reference to specific origin of supply, or special process characterising the products, brand or type is specified in the technical specification, tenderer is entitled to offer equivalent supply or compatibility with equivalent standards that complies with the minimum technical specification requirements and parameters and can ensure the functionality of the requirements within the technical specification.
| Minimum technical specification requirements | Tenderer's technical offer | Reference to the pages of the technical documentation (in this case shall be attached) or webpage link, where it is possible to verify offered software's compatibility with each minimal technical requirement
I | Software kit Materialise Mimics Innovation Suite or equivalent (that complies with the requirements specified below).
1. | General requirements:
1.1. | The software is designed for biomedical engineering based on medical examinations.
1.2. | The software kit must include at least the following related software:
1.2.1. | software for segmentation of medical images;
1.2.2. | software with CAD (Computer-aided design) functions.
1.3. | Segmentation software capabilities:
1.3.1. | The software allows automatic segmentation - at least with the treshold method, which determines the colour of each pixel, and manual segmentation.
1.3.2. | The segmented object can be edited to optimise the surface quality - at least to delete selected parts, split, cut, smooth.
1.3.3. | It is possible to measure the object.
1.3.4. | Import and export options:
1.3.4.1. | The software can import medical examination data from CT scans, MRI scans, technical scanners, etc. - at least in DICOM format.
1.3.4.2. | The softwarecan import files in at least .stl format.
1.3.4.3. | The software can export the measurements taken in at least .txt format
1.3.4.4. | The software can export modelled objects in at least .iges, .fea and .stl formats.
1.4. | CAD software capabilities:
1.4.1. | The software can create sketches with geometric parameters and interrelationships for inspection purposes.
1.4.2. | At least basic CAD functions.
1.4.3. | It is possible to optimise the design of an object, at least using Finite Element Analysis (FEA).
1.4.4. | It is possible to mesh - dividing an object into multiple elements.
1.4.5. | Import and export options:
1.4.5.1. | The software can export files in at least .stl format.
1.4.5.2. | The software can export the analysis in at least .txt format
1.4.5.3. | The software can import files in at least .iges, .fea and .stl formats.
1.5. | Additional service:
1.5.1. | Technical support to work on your biomedical engineering projects.
1.5.2. | Access to a library with DICOM files.
2. | Package content:
2.1. | The software package includes 2 lecturer licenses + 20 student licenses (University Site License license with 2 connections + MIS Student edition with 20 connections).
3. | Additional requirements:
3.1. | Delivery and installation: within maximum 60 (sixty) calendar days from the order date. The order date is the moment of electronic application (by e-mail) for sale and delivery of products by the Customer's representative made from the Customer's address domain www.rsu.lv.
3.2. | Warranty period: not less than 12 (twelve) months from the date of signing the act of acceptance.
3.3. | Delivery address: 26A Anniņmuižas Boulevard, Riga
* In the "Tenderer's technical offer" column, information - technical description - is indicated about the submitted offer and the technical specification requirements set by the corresponding contracting authority, which are included in the "Minimum technical specification requirements" column, incl. including, but not limited to, the name of the offered product, the name of the manufacturer and model of the product, exact technical parameters, the term of the contract included in the offer, the offered delivery, installation, warranty and training delivery, etc. (if such specifications are included);
* The tenderer shall attach to its offer technical documentation (brochures issued by the manufacturer, instructions for use and other documents certifying the compliance of the submitted offer with the minimum technical requirements set forth in the Procurement Regulations) or a website address that proves that the submitted offer meets the minimum technical specification requirements. In the technical documentation, the tenderer notes those parts of the text where the Contracting Authority can make sure of the compliance of the offer, according to the technical offer submitted by the tenderer. If the tenderer has specified a website address, the tenderer specifically indicates where the Contracting Authority can verify the compliance of the offer with the requirements of the technical specification, according to the technical offer submitted by the tenderer. If the submitted technical information is in a foreign language other than English, the tenderer adds a translation in Latvian or English to those parts of the text that it has indicated in the technical offer and noted in the information, where the Contracting Authority can make sure of the compliance of the offer.